## Slide 1: A new strategic plan to accelerate fusion energy development is urgently needed The plan must be credible, attractive and realistic
Mohamed Abdou
Distinguished Professor of Engineering and Applied Science
Director, Fusion Science and Technology Center, UCLA
https://www.fusion.ucla.edu/
With much appreciation to the many scientists and engineers I have worked with over decades!
Presentation at the FPA Annual Meeting 12-20-2023

## Slide 2: A credible and realistic pathway to DEMO/Pilot must seriously address the Fusion Nuclear Science and Technology (FNST) development as the most formidable challenge on the way to fusion energy
FNST is the science, engineering, technology and materials for the fusion nuclear components that generate, control and utilize neutrons, energetic particles & tritium
The primary FNST components are those from the edge of the plasma to the inner surface of the TF coils – these form the Reactor “Core” and often called the “in-vessel components”:
  1- Blanket (including integrated first wall)
  2- Plasma Interactive & High Heat Flux components (divertor, rf antennas, etc.)
  3- Vacuum Vessel and shield components
Other FNST systems include: - Tritium Fuel Cycle, - Instrumentation & Control, - Remote Maintenance components, and- Heat Transport system

## Slide 3: Current Situation in the World Fusion Energy programs Reasons for Optimism
Recent Events:
  positive plasma energy balance obtained in inertial fusion
  a stable plasma was maintained for ~ 1000 S in China Tokamak EAST
  a plasma energy turnover > 1 GJ achieved in the W7X Stellarator
  enormous interest in fusion energy from industry and private investors
  much increased interest of governments in fusion: e.g.
    USA fusion energy international strategy announced at COP28
    Europe is evaluating new strategy to accelerate fusion energy
    ASIPP in China received funding and license to construct BEST and operate by Dec 2027. Construction and R&D programs are ongoing

## Slide 4: Current Situation in the World Fusion Energy programs Reasons for Concern and Caution
  Long delays in ITER
  ITER has nearly eliminated the Nuclear Mission. It focuses now only on DT burning Plasma physics and plasma support technology
  The TBM program in ITER has been reduced to “symbolic testing”
  Many international technology assessment studies concluded that the tritium breeding blanket is at a very low TRL. No blanket has ever been built or tested. There is an urgent need to qualify blankets in the fusion nuclear environment, which can be obtained only in a DT plasma-based nuclear facility
  The world has failed to implement proposals from 30 years ago to build a 14 MeV Volumetric Neutron Source (VNS) in which testing and qualification of blanket can be performed
  Major design and R&D DEMO studies (e.g. EU DEMO) have concluded that using the first stage of DEMO operation for qualification of breeding blanket is nearly impossible, and at best is very expensive and takes very long time
  No definitive solution has been identified yet for maintaining the blanket and other in-vessel components

## Slide 5: Principal Challenging FNST issues identified in comprehensive international studies as most essential to address in defining a credible pathway
  Lack of External T Supply to provide the large T Startup Inventory required for any major fusion facility
  Technology and physics Uncertainties in achieving Tritium Self-Sufficiency
  RAMI (Reliability/Availability/Maintainability/Inspectability)
      RAMI is the Achilles’ Heel issue for fusion
  Complex and new Multiple/synergistic Effects and Interactions Phenomena
      These phenomena cannot be synthesized from “separate effects” experiments or modelling
  Nuclear Heating in a large volume with steep gradients
Issues 2, 3, 4, and 5 can be adequately addressed only in the fusion nuclear environment of a DT plasma-based facility
Issues 1 and 2 mandate that the DT plasma-based facility must be small fusion power
(< 100 MW). So, it cannot be Pilot or DEMO
Issue 3 requires very aggressive RAMI program and indicates that it is hard to predict the time in which reliability growth will be sufficient to proceed to Pilot/DEMO plant

## Slide 6
  Fundamental reasons:
  Location of Blanket/FW/Divertor inside* the vacuum vessel:
    low fault tolerance  short MTBF because many failures (e.g. coolant leak) require immediate shutdown, also no redundancy possible.
    long MTTR because repair & replacement require breaking “vacuum seal” and many connects/disconnects, and many operations in the limited access space of tokamaks, stellerators, and other “toroidal/closed” configurations
    * The decision to put the blanket inside the vacuum vessel is necessary to protect the vacuum vessel, which must be robust and cannot be in high radiation/temperature/stress state facing the plasma.
  Large surface area of the first wall results in high failure rate for a given unit failure rate per unit length of piping, welds, and joints  short MTBF
  Contrast this to fission reactors:
    Can continue operation with ~ 2% of fuel rods with failures (MTBF ~ years)
    An entire fuel bundle can be replaced in ~ 2 days (MTTR ~ 2 days).
    Fission reactors have been able to achieve 90% availability
Reliability/Availability/Maintainability/Inspectability (RAMI)
Detailed Analyses show: RAMI is a serious challenge that has major impact on engineering feasibility and economics: anticipated MTBF is hours/days (required is years), and MTTR is 3-4 months (required is days), and availability is very low < 5%

## Slide 7: Tritium Issues Dictate the fusion power of the next DT Device must be small (<100 MW)
With ITER DT start in 2036, there will be no external non-fusion supply of tritium left to provide T Startup inventory for any major DT Fusion facility beyond ITER. The tritium we had at the beginning of ITER design has already decayed!
The tritium consumption in fusion systems is huge: 55.8 kg per 1000 MW fusion power per full power year. This means that a device like DEMO with 2000 MW Fusion Power (~500 MWe) would consume: 112 kg/year; 0.31 kg/day. For a Pilot Plant with 1000 MW Fusion Power (200 MWe), tritium consumption is 56 kg/year; 0.15 kg/day
The Required Startup T inventory will be 14 kg for DEMO and 7 kg for Pilot Plant
There are very large uncertainties in achieving T self-sufficiency in early DT devices due to uncertainties in system definition (e.g. amount of structure, presence of stabilizing coils, etc.),plasma burn up , fuelling efficiency, etc.
The issue of RAMI and expected low availability in early devices will have a huge impact on the potential to achieve T self-sufficiency.
  Reason: During device downtime, T production in the blanket is interrupted while T loss by radioactive decay continues, inexorably
Therefore, the next DT device like VNS should have small fusion power (< 100 MW)

## Slide 8: Accelerating Fusion Development will be realized only from a credible plan. There is no credible plan if it does not seriously address FNST- this requires constructing and operating VNS parallel to (or earlier than) ITER
Comprehensive international technical assessments and evaluation studies over the past 30 years show that:
A credible pathway must start with a DT plasma-based device that has low fusion power (<100 MW to minimize requirements for external T supply), in which we can learn behavior of Blanket/FW/Divertor in the fusion nuclear environment, discover and understand multiple/synergistic-effects phenomena, quantify the potential to attain T self-sufficiency; and understand failure modes, rates, effects (RAMI).
  This first DT fusion device is often called VNS. It should have small size (R ~ 2-3 m), low fusion power (< 100 MW), ~ 0.5 MW/m2 NWL on ~10 m2 test area. Only inside the vacuum vessel (Blanket / FW/divertor) need to be prototypical. Plasma should be highly driven, Q ~ 1-3 with plasma burn > 200s (should be based on current plasma physics)
Results and experience from this first DT device will tell us much about the viability of current concepts, and whether we need another one or more devices for reliability growth and other physics and technology improvements; and possibly produce excess tritium to supply the required Start up inventory for DEMO/Pilot.
M. Abdou FPA 12-20-2023

## Slide 9: There are also important benefits of implementing a technology program centered around a key development facility like the VNS. These include:
Forcing function to concept engineering developments (nuclear performance, reliability growth, Remote Maintenance)
Provides additional experience in design, construction and licensing of a nuclear fusion device
Provides focus and guidance to realign interests of private investors (most of which are biased towards developing primarily magnets), towards programmatic priorities
Keeps industry, private Investors, and governments interest high
Provides a powerful incentive to attract and form a new generation of engineers and scientists

## Slide 10: VNS should have two sequential stages to establish Scientific AND Engineering Feasibility
Stage I: Scientific Feasibility
Objectives:
Discover and understand new synergistic phenomena
Establish scientific feasibility of basic functions under prompt responses and under the impact of rapid material property changes in early life
Show that tritium self-sufficiency can be attained
Requirements:
Fluence: ~ 0.3 MW-y/m2
NWL ~ 0.35 MW/m2
Plasma Burn > 200 s
Sub-modules, modules
Stage II: Engineering Feasibility
Objectives:
Show that blankets/PFC/materials can satisfy basic functions & performance, up to 10 to 20% of MTBF and of lifetime
Show basic feasibility: obtained MTBF is at least 10% of required MTBF, and MTTR is no longer than 10 times the required MTTR.
Requirements:
Fluence: ~ 1 - 3 MW-y/m2
NWL : ~ 0.35 – 0.5 MW/m2
Plasma burn : steady-state or long burn time/short dwell time
Achieve periods of continuous operation (COT) of ~ 1-2 weeks

## Slide 11: Primary Recommendations
Build VNS soon, parallel to ITER and in advance of the DEMO/Pilot final design.
Select a version of VNS that can make it near term (operation parallel to ITER). Make it small volume, low fusion power, with small requirements for external T supply, simplest, most reliable, driven plasma with current physics basis to enable the FNST mission.
Initiate immediately a study to investigate the options for the design of VNS. Several design options were proposed in previous studies. But recent advances in superconducting magnets and identification of high heat load on the divertor are examples of tradeoffs to be considered in selecting the design of VNS
Strengthen the current program of development and testing of blankets and PFC in non-fusion facilities (laboratory facilities and fission reactors) as well as modelling/simulations to enable building the breeding blanket modules for testing in VNS.
An intensive program on RAMI is needed. For example, a non-fusion facility is required now to develop and qualify tools and procedures for the remote replacement of the breeding blanket in DT fusion devices. In parallel, components to be used in the remote handling devices of DEMO/Pilot will have to be qualified for operation in a representative fusion nuclear environment such as VNS.
Note: Important effort is ongoing in Europe to investigate a viable VNS option
(ref. Gianfranco Federici Nuclear Fusion 63 (2023) 125002 (18pp)). See also Gianfranco Federici presentation at the 2022 FPA.

## Slide 12: Selected References
References (Many of the references can be found on the UCLA fusion website: https://www.fusion.ucla.edu/ )
[1] M. Abdou, et. al., “A Study of the Issues and Experiments for Fusion Nuclear Technology,” Fusion Technology, 8: 2595-2645 (1985).
[2] M. Abdou, et. al., “Modeling, Analysis and Experiments for Fusion Nuclear Technology“, Fusion Engineering & Design, 6: 3-64 (1988).
[3] Abdou M., Gierszewski P., Tillack M., Sze D., J. Bartlit, et al. Technical Issues and Requirements of Experiments and Facilities for Fusion Nuclear Technology,” (FINESSE Phase I Report), Rep. PPG-909, UCLA-ENG-85-39.
[4] Abdou M., Berwald D., Billone M., Davis J., Deis G., et al. FINESSE: A Study of the Issues, Experiments and Facilities for Fusion Nuclear Technology Research and Development (Interim Report), Rep. PPG-821, UCLA-ENG-84-30.
[5] M. Abdou, “A Volumetric Neutron Source for Fusion Nuclear Technology Testing and Development,” Fusion Engineering and Design, 27: 111-153 (1995).
[6] M. Abdou, S. Berk, A. Ying, M. Peng, S. Sharafat, J. Galambos, G. Hollenberg, S. Malang, E. Proust, S. Booth, L. Giancarli, P. Lorenzetto, Y. Seki, V.V. Filatov, G. Shatalov, A. Sidorenkov “Results of an International Study on a High-Volume Plasma-Based Neutron Source for Fusion Blanket Development“, Fusion Technology, 29: 1-57 (1996).
[7] Gianfranco Federici, “Testing needs for the development and qualification of a breeding blanket for DEMO”, Nuclear Fusion 63 (2023)125002(18pp) https://doi.org/10.1088/1741-4326/ad00cb
[8] Kovari M., Coleman M., Cristescu I., Smith R., Tritium resources available for fusion reactors in the long term, 2018 Nucl. Fusion 58 026010.
[9] M. Abdou et al, “On Fusion Nuclear Technology Development Requirements and the Role of CTF toward DEMO”, FESAC Development Path Panel Meeting, LLNL, Livermore, CA, October 28, 2002. [Presentation, Appendix]
[10] M. Abdou, M. Riva, A. Ying, C. Day, A. Loarte, L.R. Baylor, P. Humrickhouse, T.F. Fuerst and S.Y. Cho, “Physics and technology considerations for the deuterium-tritium fuel cycle and conditions for tritium fuel self sufficiency“, Nucl. Fusion 61 (2021) 013001 (50pp) https://iopscience.iop.org/article/10.1088/1741-4326/abbf35
[11] Fabio Moro, Alessandro Del Nevo, David Flammini, Emamnuela Martelli, Rocco Mozillo, Simon Noce, Rosaria Villari, „Neutronics Analyses in support of the WCLL DEMO design development“, Fusion Eng and Design 136 (2018) 1260-1264
[12] Abdou, M., Morley, N.B., Smolentsev, S., Ying, A., Malang, S., Rowcliffe, A., Ulrickson, M., “Blanket/First wall challenges and required R&D on the pathway to DEMO“, Fusion Engineering and Design, 100:2-43(2015).
[13] Technology Readiness Assessment Guide - Best Practices for Evaluating the Readiness of Technology for Use in Acquisition Programs and Projects, , United States Government Accountability Office, August 2016, GAO-16-410G
[14] Federici G. et al., “An Overview of the EU Breeding Blanket Strategy as integral part of the DEMO design effort”, Fus. Eng. Des. 141 (2019) 30–42, https://doi.org/10.1016/j.fusengdes.2019.01.141
[15] Angel Ibarra et. “Overview of IFMIF-DONES: an irradiation facility relevant for fusion materials”, ISFNT-15, Las Palmas, Spain September 10-15, 2023
[16] Transforming the US Department of Energy: Paving the way to commercialise Advance Nuclear Energy, (Nuclear Innovation Advance) January 2023. The report is available online: https://nuclearinnovationalliance.org/resources
M. Abdou FPA 12-20-2023

## Slide 13
Thank you!